SUMMARY OF BUILDING RESTRICTIONS

Minimum residence size and other requirements for single family homes in Kirkland Crossing Subdivision.

SETBACKS:  30’ Front, 12.5 Side, 25’ Rear  /  Corner Lots 30’ Front and 25’ Side Street

  - Not less than 2000 square feet for a one-story residence.

  - Not less than 2400 square feet in total area for a two-story residence or story and one-half.

  - Exterior walls shall be constructed of brick, stone, cedar, stucco, fiber-cement or other high-quality       natural materials or combination thereof. No aluminum, metal or vinyl siding is permitted.

  - Aluminum soffit and fascia is allowed.

  - Gable ends shall have a rake molding.

  - 25% masonry at front elevation terminating at an inside corner or wrapped around a corner.

  - There shall be consistent architectural use of building materials around all elevations of the home.

  - Steeper roof pitches are required. 10/12 on a ranch and 8/12 on a two-story unless approved by ACC.

  - 4" (or larger) trim boards or shutters are required on all windows and 4” (or larger) corner boards are required

  - Side entry garages are encouraged. Front entry garages are allowed.                                                                Garage may not be more than 50% of façade.

  - Above ground swimming pools are not permitted.

  - Outbuildings/sheds are not allowed.

  - Fences must be maintenance-free and be 50% open. No barrier or chain link allowed.

  - Long term outside storage of work vehicles, boats, campers, trailers, etc. not permitted.

  - All building plans, landscape plans, exterior design must be approved by the ACC.

  - These restrictions are found in detail in Article 6 of the Kirkland Crossing Declaration of Restrictions:

This subdivision is open and you may build with the builder of your choice.

Additionally, there is no timeframe on when you need to build by.